## Step 1 Add Locations
# Required fields are indicated by an asterisk *.
# Values for Location Code and Location Name must be unique within dcTrack.
# Value provided for Country must match an entry from the dcTrack Country list.
# Enable the Virtual Power Chain for that Location, if you will only be planning and tracking asset power and current budget from power supplies up to and including the Rack PDU inlet level.
# Default Location is used to initially select the default location for the UI.
# Operation * | Object * | dcTrack Location Code* | dcTrack Location Name* | Data Center Area* | Country* | Enable Virtual Power Chain | Is Default Location
ADD | LOCATION | BDGWTR | Bridgewater | 10000 | United States | TRUE | TRUE
ADD | LOCATION | BRNCHBRG | Branchburg | 10000 | United States | TRUE | FALSE
ADD | LOCATION | HPWL | Hopewell | 10000 | United States | TRUE | FALSE
ADD | LOCATION | SMVL | Sommerville | 10000 | United States | TRUE | FALSE

## Step 2 Add Cabinets
# Fields that are required to add an item are indicated by an asterisk *.
# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.
# The item's name must be unique within its Location.
# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.
# Values provided for location must be an existing dcTrack Location.
# Front Faces can be either North, South, East or West.
# Row Label can be a pre-existing label, or a new label can be entered and added to the list of existing row labels.
# Position in Row can be any position 1 - 99 that is unoccupied.
# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
# Operation * | Object * | Name * | Make * | Model * | Location * | Front Faces | Row Label ** | Position in Row ** | Status
ADD | CABINET | CAB-A1 | CPI | 42RU-TeraFrame Cabinet 42D | BDGWTR | North | A | 1 | Installed
ADD | CABINET | CAB-A2 | CPI | 42RU-TeraFrame Cabinet 42D | BDGWTR | North | A | 2 | Installed
ADD | CABINET | CAB-A3 | CPI | 42RU-TeraFrame Cabinet 42D | BDGWTR | North | A | 3 | Installed
ADD | CABINET | CAB-A4 | CPI | 42RU-TeraFrame Cabinet 42D | BDGWTR | North | A | 4 | Installed
ADD | CABINET | CAB-A5 | CPI | 42RU-TeraFrame Cabinet 42D | BDGWTR | North | A | 5 | Installed

## Step 3 Add Rack PDUs
# Fields that are required to add an item are indicated by an asterisk *.
# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.
# The item's name must be unique within its Location.
# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.
# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.
# Depth Postion can be any unoccupied position on Front or Back auxilliary rails as viewed from cabinet rear.
# Cabinet Side can be any unoccupied position on Left or Right auxilliary rails as viewed from cabinet rear.
# U Position can be any unoccupied position on the designated auxilliary rails that can accommodate the RU size of the item from this point and above.
# IP Address Port Name is used to assign the IP Address to a specific item data port. If omitted, the IP Address will be assigned to the item's first data port.
# PX Username and PX Password are only used with Raritan Rack PDUs.
# SNMP Write Community String can be replaced by the appropriate set of SNMPv3 related columns if required.
# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
# Operation * | Object * | Name * | Make * | Model * | Location * | Cabinet ** | Depth Position ** | Cabinet Side ** | U Position ** | IP Address | IP Address Port Name | SNMP Write Community String | PX User Name | PX Password | Status
ADD | RACK PDU-ZERO U | A1-RDPU-L | Raritan | Dominion PX DPCS12-20L | BDGWTR | A1 | Back | Left | 1 | 192.168.57.180 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A1-RDPU-R | Raritan | Dominion PX DPCS12-20L | BDGWTR | A1 | Back | Right | 1 | 192.168.57.181 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A2-RDPU-L | Raritan | Dominion PX DPCS12-20L | BDGWTR | A2 | Back | Left | 1 | 192.168.57.182 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A2-RDPU-R | Raritan | Dominion PX DPCS12-20L | BDGWTR | A2 | Back | Right | 1 | 192.168.57.183 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A3-RDPU-L | Raritan | Dominion PX DPCS12-20L | BDGWTR | A3 | Back | Left | 1 | 192.168.57.184 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A3-RDPU-R | Raritan | Dominion PX DPCS12-20L | BDGWTR | A3 | Back | Right | 1 | 192.168.57.185 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A4-RDPU-L | Raritan | Dominion PX DPCS12-20L | BDGWTR | A4 | Back | Left | 1 | 192.168.57.186 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A4-RDPU-R | Raritan | Dominion PX DPCS12-20L | BDGWTR | A4 | Back | Right | 1 | 192.168.57.187 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A5-RDPU-L | Raritan | Dominion PX DPCS12-20L | BDGWTR | A5 | Back | Left | 1 | 192.168.57.188 | Eth01 | private | admin | raritan | Installed
ADD | RACK PDU-ZERO U | A5-RDPU-R | Raritan | Dominion PX DPCS12-20L | BDGWTR | A5 | Back | Right | 1 | 192.168.57.189 | Eth01 | private | admin | raritan | Installed

## Step 4 Add Devices
# Fields that are required to add an item are indicated by an asterisk *.
# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.
# The item's name must be unique within its Location.
# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.
# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.
# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above.
# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.
# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades.
# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library.
# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library.
# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
# Operation * | Object * | Name * | Make * | Model * | Location * | Cabinet ** | U Position ** | Rails Used ** | Orientation ** | Status
ADD | DEVICE-BLADE CHASSIS-RACKABLE | HP-C7000-01 | HP | BladeSystem c7000 Enclosure | BDGWTR | CAB-A1 | 4 | Both | Item Front Faces Cabinet Front | Installed
ADD | DEVICE-RACKABLE | HP-C7000-02 | HP | BladeSystem c7000 Enclosure | BDGWTR | CAB-A1 | 20 | Both | Item Front Faces Cabinet Front | Installed
ADD | NETWORK-RACKABLE | CISCO-C2950-01 | Cisco Systems | Catalyst C2950T-24 | BDGWTR | CAB-A1 | 36 | Both | Item Front Faces Cabinet Front | Installed
ADD | DATA PANEL-RACKABLE | A1-1 | Ortronics | 1RU-24p RJ45 CAT5e | BDGWTR | CAB-A1 | 40 | Both | Item Front Faces Cabinet Rear | Installed
ADD | PASSIVE | WIRE MANGER 1U | Panduit | 1RU-Wire Manager-NM1 | BDGWTR | CAB-A1 | 41 | Back | Item Front Faces Cabinet Rear
# Operation * | Object * | Name * | Make * | Model * | Location * | Cabinet ** | Chassis ** | Chassis Face ** | Slot Position ** | Status
ADD | DEVICE-BLADE | HP-BL460c-01-1 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-01 | Front | 1 | Installed
ADD | DEVICE-BLADE | HP-BL460c-01-2 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-01 | Front | 2 | Installed
ADD | DEVICE-BLADE | HP-BL460c-01-3 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-01 | Front | 3 | Installed
ADD | DEVICE-BLADE | HP-BL460c-01-4 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-01 | Front | 4 | Installed
ADD | DEVICE-BLADE | HP-BL460c-02-1 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-02 | Front | 1 | Installed
ADD | DEVICE-BLADE | HP-BL460c-02-2 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-02 | Front | 2 | Installed
ADD | DEVICE-BLADE | HP-BL460c-02-3 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-02 | Front | 3 | Installed
ADD | DEVICE-BLADE | HP-BL460c-02-4 | HP | Blade BL460c G6 | BDGWTR | CAB-A1 | HP-C7000-01 | Front | 4 | Installed

## Step 5 Create Power Connections
# Required fields are indicated by an asterisk *.
# Value provided for location, item and power port name must match existing dcTrack locations, items and power ports.
# Value provided for cord type can be one already existing in the dcTrack Connectors Library, Connection Cords list or can be added as a new entry for the list.
# Starting items can be Device, Network, Probe and Rack PDU class items only.
# Ending items can be Power Outlet or Rack PDU class items only.
# When the Ending Item Location has the Virtual Power Chain enabled, VPC-A or VPC-B can be designated as the Ending Item along with a Virtual Power Port (VPP) as Ending Port Name.
# Only circuits in the Planned state can be deleted.
# Operation * | Object * | Starting Item Location * | Starting Item Name * | Starting Port Name * | Cord Type | Cord ID | Ending Item Location * | Ending Item Name * | Ending Port Name * | Ending Item Type *
ADD | POWER-CONNECTION | BDGWTR | A1-RDPU-L | Input Cord | Inlet Cord | ip-001 | BDGWTR | VPC-A | VPP | Outlet
ADD | POWER-CONNECTION | BDGWTR | A1-RDPU-R | Input Cord | Inlet Cord | ip-002 | BDGWTR | VPC-B | VPP | Outlet
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-01 | PS1 | Power Cord | ps-001 | BDGWTR | A1-RDPU-L | Outlet 01 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-01 | PS2 | Power Cord | ps-002 | BDGWTR | A1-RDPU-R | Outlet 01 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-01 | PS3 | Power Cord | ps-003 | BDGWTR | A1-RDPU-L | Outlet 02 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-01 | PS4 | Power Cord | ps-004 | BDGWTR | A1-RDPU-R | Outlet 02 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-02 | PS1 | Power Cord | ps-005 | BDGWTR | A1-RDPU-L | Outlet 03 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-02 | PS2 | Power Cord | ps-006 | BDGWTR | A1-RDPU-R | Outlet 03 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-02 | PS3 | Power Cord | ps-007 | BDGWTR | A1-RDPU-L | Outlet 04 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | HP-C7000-02 | PS4 | Power Cord | ps-008 | BDGWTR | A1-RDPU-R | Outlet 04 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | CISCO-C2950-01 | PS1 | Power Cord | ps-009 | BDGWTR | A1-RDPU-L | Outlet 05 | Rack PDU
ADD | POWER-CONNECTION | BDGWTR | CISCO-C2950-01 | PS2 | Power Cord | ps-010 | BDGWTR | A1-RDPU-R | Outlet 05 | Rack PDU

## Step 6 Create Structured Cab.
# Required fields are indicated by an asterisk *.
# The port's name must be unique within its data panel.
# Value provided for location and item name must match existing dcTrack locations and items.
# Value provided for port connector, cable media, color and group must match an entry from the dcTrack Connector Library , Cable Grade, Color and Group lists.
# Starting and Ending Port Connectors must be compatible as defined in the dcTrack Connector Library, Connector Compatibility list.
# Only Starting Port Name,Color and Group can be edited if the port is connected.
# Ports and structured cabling cannot be de deleted if being used to complete another circuit.
# Ports cannot be deleted if connected.
# Length Units are US by default and can be omitted.
# Operation * | Object * | Location Starting Item * | Starting Item Name * | Starting Port Name * | Starting Port Connector * | Cable Media * | Length (ft/m) * | Length Units | Color | Group | Location Ending Item * | Ending Item Name * | Ending Port Name * | Ending Port Connector *
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-01 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-01 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-02 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-02 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-03 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-03 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-04 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-04 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-05 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-05 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-06 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-06 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-07 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-07 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-08 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-08 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-09 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-09 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-10 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-10 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-11 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-11 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-12 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-12 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-13 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-13 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-14 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-14 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-15 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-15 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-16 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-16 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-17 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-17 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-18 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-18 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-19 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-19 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-20 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-20 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-21 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-21 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-22 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-22 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-23 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-23 | RJ45
ADD | STRUCTURED-CABLING | BDGWTR | A1-1 | A1-1-24 | RJ45 | Cat6 | 20 | US | Blue | PROD | BDGWTR | B2-1 | B2-1-24 | RJ45

## Step 7 Create Data Connections
# Required fields are indicated by an asterisk *.
# Value provided for location, item and power port name must match existing dcTrack locations, items and power ports.
# Value provided for cord type can be one already existing in the dcTrack Connectors Library, Connection Cords list or can be added as a new entry for the list.
# Starting items can be Device, Network, UPS, FloorPDU, Rack PDU, CRAC and Probe class items only.
# Ending items can be Device, Network or Data Panel class items only.
# A number of intermediate hops can exist between the Starting and Ending Item, the hops consist of a pair of data panels identified by the name of the near side data panel
# Only circuits in the Planned state can be deleted.
# Operation * | Object * | Starting Item Location * | Starting Item Name * | Starting Port Name * | Cord 1 Type | Cord 1 ID | Ending Item Location * | Ending Item Name * | Ending Port Name *
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-01 | Eth01 | Patch Cord | pc-001 | BDGWTR | CISCO-C2950-01 | Eth01
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-01 | Eth02 | Patch Cord | pc-002 | BDGWTR | CISCO-C2950-01 | Eth02
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-01 | Eth03 | Patch Cord | pc-003 | BDGWTR | CISCO-C2950-01 | Eth03
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-01 | Eth04 | Patch Cord | pc-004 | BDGWTR | CISCO-C2950-01 | Eth04
# Operation * | Object * | Starting Item Location * | Starting Item Name * | Starting Port Name * | Cord 1 Type | Cord 1 ID | Hop 1: Near End Panel Location | Hop 1: Near End Panel Name | Hop 1: Port Name | Cord 2 Type | Cord 2 ID | Ending Item Location * | Ending Item Name * | Ending Port Name *
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-03 | Eth01 | Patch Cord | pc-005 | BDGWTR | B2-1 | B2-1-01 | Patch Cord | pc-009 | SMRVL | CISCO-C2950-01 | Eth05
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-03 | Eth02 | Patch Cord | pc-006 | BDGWTR | B2-1 | B2-1-02 | Patch Cord | pc-010 | SMRVL | CISCO-C2950-01 | Eth06
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-03 | Eth03 | Patch Cord | pc-007 | BDGWTR | B2-1 | B2-1-03 | Patch Cord | pc-011 | SMRVL | CISCO-C2950-01 | Eth07
ADD | DATA-CONNECTION | BDGWTR | HP-C7000-03 | Eth04 | Patch Cord | pc-008 | BDGWTR | B2-1 | B2-1-04 | Patch Cord | pc-012 | SMRVL | CISCO-C2950-01 | Eth08

## Data & Power Ports
# Required fields are indicated by an asterisk *.
# Value provided for location, item and data port name (unlesss assigning new name) must match existing dcTrack locations, items and data ports.
# Value provided for port type can be Physical, Logical or Virtual. Logical for blades only. Virtual for VMs only.
# Value provided for port name can be up to 64 characters, and must be unique for the item.
# Value provided for port index is an integer, 1 or greater, default value is the order the port was created in, must be unique for a port type of an item.
# Value provided for color code, grouping/VLAN, connector, media, protocol and data rate must match an entry from the dcTrack Color Code, Media, Protocol and Data Rate lists.
# Only Port Name, Index, Color Code, Grouping/VLAN, MAC Address, IP Address, Proxy Index, SNMP Community String, and Comment can be edited if the port is connected.
# Ports cannot be deleted when ports are connected.
# IP Address must be a properly formatted IPv4 address, can be shared by another device within a dcTrack location.
# IP Address and Proxy Index combination must be unique within a dcTrack location.
# SNMP Community String can be set for only 1 port data port
# Applies to Device, Network, UPS, FloorPDU, Rack PDU, CRAC and Probe class items only.
# Operation * | Object * | Item Location * | Item Name * | Port Name * | New Port Name | Index | Port Type* | Color Code | Grouping/VLAN | MAC Address | IP Address | Proxy Index | Connector * | Media * | Protocol * | Data Rate * | SNMP Community | Comment
ADD, EDIT or DELETE | DATA-PORT
# Required fields are indicated by an asterisk *.
# Value provided for location, item and power supply port name (unlesss assigning new name) must match existing dcTrack locations, items and power supply ports.
# Value provided for port name can be up to 64 characters, and must be unique for the item.
# Value provided for port index is an integer, 1 - 8, default value is the order the port was created in, must be unique for a port type of an item.
$ Value provided for port type must be POWER-SUPPLY
# Value provided for color code, connector, phase type, and volts must match an entry from the dcTrack Color Code, Connector lists.
# Value provided for Phase Type and Volts must match existing dcTrack Phase Type (Single Phase (2-Wire), Single Phase (3-Wire), Three Phase Delta, Three Phase Wye) and Volts ( Single Phase: 120~240, 120, 240, 277, Three Phase: 208, 380, 400, 415, 480).
# All ports are given the same values for Connector, Phase Type, Volts, Power Factor, Watts Nameplate and Watts Budgetted. A change in value for one port will cause a change in value for all of the ports.
# Value provided for watts budgetted can be provided as an absolute value or as a percentage of the watts nameplate value, e.g. 60%
# Only the values for port name, index, color code, watts nameplate, watts budgeted, power factor and comment can be edited if the port is connected.
# Ports cannot be deleted when ports are connected.
# Redundancy may specified for the item, e.g N, N+1, N+2 provided the item has an adequate number of power supplies, otherwise defaults to N
# Applies to Device, Network or Probe class items only
# Operation * | Object * | Item Location * | Item Name * | Redundancy (for Item) | Port Name * | New Port Name | Index | Port Type * | Color Code | Connector * | Phase Type * | Volts * | Power Factor * | Watts (N) * | Watts (B) * | Comment
ADD, EDIT or DELETE | POWER-PORT | [6 empty] | Power Supply

## Items Applicable Fields
# Free-Standing
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | Cabinet | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Front Faces | Row Label | Position in Row |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | [13 empty] | Grouping | Load Capacity | Rails Width | Rails Offset Front | Rails Offset Back | Door Perforation Front | Door Perforation Back | Clearance Front | Clearance Back | Clearance Left | Clearance Right |  | Power IQ External Key
ADD/EDIT/DELETE | Device-Free Standing | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Front Faces | Row Label | Position in Row |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | Domain | CPU Type | CPU Quantity | RAM (GB) | Users | Processes | Services | VM Cluster | Volume | Used (GB) | Max (GB) | Power IQ External Key
ADD/EDIT/DELETE | Network-Free Standing | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer | Logical Name | Status | Location | New Location | Location Reference | Front Faces | Row Label | Position in Row |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | OSI Layer | [10 empty] | Power IQ External Key
# Facility Objects
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | UPS | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Front Faces |  |  |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | [14 empty] | Power IQ External Key
ADD/EDIT/DELETE | CRAC | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Front Faces |  |  |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | [14 empty] | Power IQ External Key
ADD/EDIT/DELETE | Floor PDU | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Front Faces |  |  |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Power Rating (KVA) | Main Breaker (A) | Power Fed From | Source (UPS or Floor PDU) | [8 empty] | Power IQ External Key
# Rackable Items
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | DEVICE-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | Domain | CPU Type | CPU Quantity | RAM (GB) | Users | Processes | Services | VM Cluster | Volume | Used (GB) | Max (GB) | Power IQ External Key
ADD/EDIT/DELETE | DEVICE-BLADE CHASSIS-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | [14 empty] | Power IQ External Key
ADD/EDIT/DELETE | NETWORK-CHASSIS-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | OSI Layer | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | NETWORK-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer | Logical Name | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | OSI Layer | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | DATA PANEL-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n
ADD/EDIT/DELETE | RACK PDU-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | Group | No. in Group | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | PROBE-RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | [12 empty] | Power IQ External Key
# Non-rackable Items
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | DEVICE-NON RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation | Order (L-R) | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | Domain | CPU Type | CPU Quantity | RAM (GB) | Users | Processes | Services | VM Cluster | Volume | Used (GB) | Max (GB) | Power IQ External Key
ADD/EDIT/DELETE | NETWORK-NON RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer | Logical Name | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation | Order (L-R) | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | OSI Layer | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | DATA PANEL-NON RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation | Order (L-R) | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n
ADD/EDIT/DELETE | RACK PDU-NON RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation | Order (L-R) | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | Group | No. in Group | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | PROBE-NON RACKABLE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Rails Used | Orientation | Order (L-R) | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | [12 empty] | Power IQ External Key
# ZeroU Mounted Items
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | RACK PDU-ZERO U | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Depth Position | Cabinet Side |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | Group | No. in Group | [10 empty] | Power IQ External Key
ADD/EDIT/DELETE | PROBE-ZERO U | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Depth Position | Cabinet Side |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name | Proxy Index | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String | PX User Name | PX Password | [12 empty] | Power IQ External Key
ADD/EDIT/DELETE | DATA PANEL-ZERO U | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position | Depth Position | Cabinet Side |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n
# Blades
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | DEVICE-BLADE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | Chassis | Chassis Face | Slot Position |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | Domain | CPU Type | CPU Quantity | RAM (GB) | Users | Processes | Services | VM Cluster | Volume | Used (GB) | Max (GB) | Power IQ External Key
ADD/EDIT/DELETE | NETWORK-BLADE | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | Chassis | Chassis Face | Slot Position |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n | IP Address | IP Address Port Name |  | SNMP3 Enabled | SNMP3 User Name | SNMP3 Authorization Level | SNMP3 Authorization Protocol | SNMP3 Authorization PassKey | SNMP3 Privacy Protocol | SNMP3 Privacy PassKey | SNMP Write Community String |  |  | Operating System | OSI Layer | [10 empty] | Power IQ External Key
# Power Outlets: Busway, Whip
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | POWER OUTLET | Make | Model | Serial Number | Asset Tag | eAset Tag | Name | New Name | Alias | Type | Function | Sys Admin | Sys. Admin Team | Customer |  | Status | Location | New Location | Location Reference | Cabinet | U Position |  |  |  | PO Number | Purchace Price | Purchase Date | Installation Date | SLA Profile | Contract Number | Contract Amount | Contract Start Date | Contract End Date | Notes | Custom Field Label1 | Custom Field Label2 | Custom Field Label n
# Passive Items: Blanking Plates, Shelves
# Operation | Object | Hardware Heading Group |  |  |  |  | Identity Heading Group | [8 empty] | Status Heading Group | Placement Heading Group | [7 empty] | Asset & Maintenance Heading Group | [9 empty] | Custom Fields Heading Group |  |  | Credentials / SNMP Information Heading Group | [12 empty] | Configuration Heading Group | [11 empty] | Power IQ Integration Heading Group
ADD/EDIT/DELETE | PASSIVE | Make | Model |  |  |  | Name | New Name | [8 empty] | Location | New Location | Location Reference | Cabinet | U Position | Rails Used

## Locations Applicable Fields
# Required fields are indicated by an asterisk *.
# Values for Location Code and Location Name must be unique within dcTrack.
# Value provided for Location Type must be existing type in dcTrack (i.e. Main, Region, Local, Disaster Recovery)
# Units for imported values are US by default otherwise set Units to SI so they can be interpreted correctly, Area in sq. ft or sq. m, Length in ft or m, heights in in. or mm.
# Value provided for State and Country must match an entry from the dcTrack Country list.
# Value provide for Drawing North is Up, Down, Left or Right
# Value provided for Grid Labeling is 'X Axis is Letters' or ' X Axis is Numbers'
# Value provided for Vertical Row Orientation is 'Top to Bottom' or 'Bottom to Top'
# Value provided for Horizontal Row Orientation is 'Left to Right' or 'Right to Left'
# Value provided for Location Picture Path is the full path and file name for the location's picture.
# Enable the Virtual Power Chain for that Location, if you will only be planning and tracking asset power and current budget from power supplies up to and including the Rack PDU inlet level.
# Default Location is used to initially select the default location for the UI.
# Value provide for Power IQ Label, IP Address or Hostname is used to manage the association of the Location to a Power IQ when operating in integrated mode.
# Value provide for Power IQ Object Type is used to map the dcTrack Location to a Power IQ data center/floor/room when operating in integrated mode.
# Value provide for Power IQ Object External Key is used uniquely identify the object in Power IQ when mapping the dcTrack Location to a Power IQ data center/floor/room when operating in integrated mode.
# Value provide for Power IQ Object Name is used identify the object in Power IQ when mapping the dcTrack Location to a Power IQ data center/floor/room
# Details of exceptions noted during the integration of Locations objects with Power IQ can be reviewed in the dcTrack Events list.
# Operation * | Object * | dcTrack Location Code* | New dcTrack Location Code | dcTrack Location Name* | Is Default Location | Location Type | Units | Data Center Area* | Outer Room Dim - L | Outer Room Dim - W | Data Center Height Raised Floor | Data Center Height Finished Floor to Finished Ceiling | Data Center Height Finished Ceiling to Slab Ceiling | Country* | Floor | Street | City | State | Postal Code | Drawing North | Grid Label | Vertical Row Orientation | Horizontal Row Orientation | Location Picture Path | Enable Virtual Power Chain | Power IQ Appliance Name, IP Address or Hostname | Power IQ Object Type | Power IQ Object External Key | Power IQ Object Name
# ADD/EDIT/DELETE | LOCATION

## Power Outlet Circuit
# Required fields are indicated by an asterisk *.
# Floor PDU Location specifies the location (site) of the floor PDU. The floor PDU can be in the same location as the power panel and/or outlet, or a different Location.
# Floor PDU is the name of the floor PDU. The floor PDU must already exist in dcTrack.
# Panel or Busway is the name of the floor PDU's power panel and/or busway. The power panel and/or busway must already be created for the floor PDU in dcTrack. Breakers must already be created for power panels.
# Power Outlet Name is the name of the power outlet in the circuit. The power outlet must already exist in dcTrack but cannot contain any ports.
# Power Outlet Port Name is the name of a single port on the power outlet. The ports are created during the import.
# Connector is the connector to be used by the power outlet port.
# Amps (Rated) is the rating of the power outlet port. Enter a numerical value greater than 0.
# Poles is the name of the poles the outlet port connects to.
# For power panels, the pole must already exist in dcTrack and have a breaker.
# For busways, the poles cannot already exist; they are created during the import. Following are the possible options -
# · For 1-pole breakers - enter a value between 1 and 6
# · For 2-pole breakers - 1,2 ; 2,3 ; 3,4 ; 4;5 ; 5,6
# · For 3-pole breakers - 1,2,3 ; 2,3,4 ; 3,4,5 ; 4,5,6
# Operation * | Object * | Floor PDU Location * | Floor PDU * | Panel or Busway * | Power Outlet Name * | Power Outlet Port Name * | Connector * | Amps (Rated) * | Poles *
# ADD/EDIT/DELETE | POWER-OUTLET-CIRCUIT

## Sorting for Export
Export Example: The items list is filtered to contain these items.
| Site A | [5 empty] | Site B
|  | Cab A-1 | [5 empty] | Cab B-3
|  |  | server 1 -1 | [5 empty] | server 3 -1
|  |  | server 1 -2 | [5 empty] | server 3 -2
|  |  | chassis 1 -1 | [5 empty] | chassis 3 -1
|  |  |  | device-blade 1-1-1 | [5 empty] | device-blade 3-1-1
|  |  |  | device-blade 1-1-2 | [5 empty] | device-blade 3-1-2
|  |  |  | network-blade 1-1-3 | [5 empty] | network-blade 3-1-3
|  |  |  | network-blade 1-1-4 | [5 empty] | network-blade 3-1-4
|  |  | rack pdu(0U) 1 - L | [5 empty] | rack pdu(0U) 3 - L
|  |  | rack pdu(0U) 1 - R | [5 empty] | rack pdu(0U) 3 - R
|  | Cab A-2 | [5 empty] | Cab B-4
|  |  | server 2 -1 | [5 empty] | server 4 -1
|  |  | server 2 -2 | [5 empty] | server 4 -2
|  |  | chassis 2 -1 | [5 empty] | chassis 4 -1
|  |  |  | device-blade 2-1-1 | [5 empty] | device-blade 4-1-1
|  |  |  | device-blade 2-1-2 | [5 empty] | device-blade 4-1-2
|  |  |  | network-blade 2-1-3 | [5 empty] | network-blade 4-1-3
|  |  |  | network-blade 2-1-4 | [5 empty] | network-blade 4-1-4
|  |  | rack pdu(0U) 2 - L | [5 empty] | rack pdu(0U) 4 - L
|  |  | rack pdu(0U) 2 - R | [5 empty] | rack pdu(0U) 4 - R
The exported template file should have the items organized by location, then by cabinet, then by chassis, by class/subclass/mounting (object type) and by name.
cab-hdr
| EDIT | cab | site a | cab a-1
| EDIT | cab | site a | cab a-2
| EDIT | cab | site b | cab b-3
| EDIT | cab | site b | cab b-4
dev-rack-hdr
| EDIT | dev-rack-hdr | site a | cab a-1 | chassis 1 -1
| EDIT | dev-rack-hdr | site a | cab a-1 | server 1 -1
| EDIT | dev-rack-hdr | site a | cab a-1 | server 1 -2
| EDIT | dev-rack-hdr | site a | cab a-2 | chassis 2 -1
| EDIT | dev-rack-hdr | site a | cab a-2 | server 2 -1
| EDIT | dev-rack-hdr | site a | cab a-2 | server 2 -2
| EDIT | dev-rack-hdr | site b | cab b-3 | chassis 3 -1
| EDIT | dev-rack-hdr | site b | cab b-3 | server 3 -1
| EDIT | dev-rack-hdr | site b | cab b-3 | server 3 -2
| EDIT | dev-rack-hdr | site b | cab b-4 | chassis 4 -1
| EDIT | dev-rack-hdr | site b | cab b-4 | server 4 -1
| EDIT | dev-rack-hdr | site b | cab b-4 | server 4 -2
device-blade-hdr
| EDIT | dev-rack-hdr | site a | cab a-1 | chassis 1 -1 | device-blade 1-1-1
| EDIT | dev-rack-hdr | site a | cab a-1 | chassis 1 -1 | device-blade 1-1-2
| EDIT | dev-rack-hdr | site a | cab a-2 | chassis 2 -1 | device-blade 2-1-1
| EDIT | dev-rack-hdr | site a | cab a-2 | chassis 2 -1 | device-blade 2-1-2
| EDIT | dev-rack-hdr | site b | cab b-3 | chassis 3 -1 | device-blade 3-1-1
| EDIT | dev-rack-hdr | site b | cab b-3 | chassis 3 -1 | device-blade 3-1-2
| EDIT | dev-rack-hdr | site b | cab b-4 | chassis 4 -1 | device-blade 4-1-1
| EDIT | dev-rack-hdr | site b | cab b-4 | chassis 4 -1 | device-blade 4-1-2
network-blade-hdr
| EDIT | dev-rack-hdr | site a | cab a-1 | chassis 1 -1 | network-blade 1-1-3
| EDIT | dev-rack-hdr | site a | cab a-1 | chassis 1 -1 | network-blade 1-1-4
| EDIT | dev-rack-hdr | site a | cab a-2 | chassis 2 -1 | network-blade 2-1-3
| EDIT | dev-rack-hdr | site a | cab a-2 | chassis 2 -1 | network-blade 2-1-4
| EDIT | dev-rack-hdr | site b | cab b-3 | chassis 3 -1 | network-blade 3-1-3
| EDIT | dev-rack-hdr | site b | cab b-3 | chassis 3 -1 | network-blade 3-1-4
| EDIT | dev-rack-hdr | site b | cab b-4 | chassis 4 -1 | network-blade 4-1-3
| EDIT | dev-rack-hdr | site b | cab b-4 | chassis 4 -1 | network-blade 4-1-4
rpdu-zeroU-hdr
| EDIT | dev-rack-hdr | site a | cab a-1 | rack pdu(0U) 1 - L
| EDIT | dev-rack-hdr | site a | cab a-1 | rack pdu(0U) 1 - R
| EDIT | dev-rack-hdr | site a | cab a-2 | rack pdu(0U) 2 - L
| EDIT | dev-rack-hdr | site a | cab a-2 | rack pdu(0U) 2 - R
| EDIT | dev-rack-hdr | site b | cab b-3 | rack pdu(0U) 3 - L
| EDIT | dev-rack-hdr | site b | cab b-3 | rack pdu(0U) 3 - R
| EDIT | dev-rack-hdr | site b | cab b-4 | rack pdu(0U) 4 - L
| EDIT | dev-rack-hdr | site b | cab b-4 | rack pdu(0U) 4 - R

## _AllApplicableFieldsInternal
#Operator | Object |  |  |  | Placement Heading Group | [14 empty] | Custom Fields Heading Group | Power IQ External Key | Comments THIS MUST BE LAST COLUMN
EDIT | Cabinet | Name * | Make * | Model * | Location * | Location Reference | Front Faces |  |  | Row Label ** | Position in Row ** | Status | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location.; # Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location must be an existing dcTrack Location.;# Front Faces can be either North, South, East or West.;# Row Label can be a pre-existing label, or a new label can be entered and added to the list of existing row labels.;# Position in Row can be any position 1 - 99 that is unoccupied.;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | CRAC | Name * | Make * | Model * | Location * | Location Reference | Front Faces | [11 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location.; # Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location must be an existing dcTrack Location.;# Front Faces can be either North, South, East or West.;# Row Label can be a pre-existing label, or a new label can be entered and added to the list of existing row labels.;# Position in Row can be any position 1 - 99 that is unoccupied.;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | DATA PANEL-NON RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | Order (L-R) | [5 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DATA PANEL-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DATA PANEL-ZERO U | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Depth Position | Cabinet Side | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DEVICE-BLADE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | Chassis ** | Chassis Face ** | Slot Position ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DEVICE-BLADE CHASSIS-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | Device-Free Standing | Name * | Make * | Model * | Location * | Location Reference | Front Faces |  |  | Row Label | Position in Row | [7 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DEVICE-NON RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | Order (L-R) | [5 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | DEVICE-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | Floor PDU | Name * | Make * | Model * | Location * | Location Reference | Front Faces | [11 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | NETWORK-BLADE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | Chassis ** | Chassis Face ** | Slot Position ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | NETWORK-CHASSIS-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | Network-Free Standing | Name * | Make * | Model * | Location * | Location Reference | Front Faces |  |  | Row Label ** | Position in Row ** | [7 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | NETWORK-NON RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | Order (L-R) | [5 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | NETWORK-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | PASSIVE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | [7 empty] | Status |  | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | POWER OUTLET | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | [8 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | PROBE-NON RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | Order (L-R) | [5 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | PROBE-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Rails Used ** | Orientation ** | [6 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location. ;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists. ;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet.;# U Position can be any unoccupied position on Both, Front, or Back rails as needed to accommodate the RU size of the item from this point and above. ;# Orientation indicates how item is mounted in the cabinet as viewed from cabinet front.;# Chassis and slot number must match entry from dcTrack Chassis and available slot lists, chassis must be added prior to blades. ;# Chassis face can be Front or Back according to the chassis model's slot setup in the Models Library. ;# Slot Position can be the slot label assigned to any unoccupied anchor slot, labels and anchor slots according to the chassis model's slot setup in the Models Library. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage. Passive items inherit the status of the cabinet they are placed in.
EDIT | PROBE-ZERO U | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Depth Position ** | Cabinet Side ** |  | IP Address | IP Address Port Name | SNMP Write Community String | PX User Name | PX Password | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **. ;# The item's name must be unique within its Location.;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet. ;# Depth Postion can be any unoccupied position on Front or Back auxilliary rails as viewed from cabinet rear. ;# Cabinet Side can be any unoccupied position on Left or Right auxilliary rails as viewed from cabinet rear. ;# U Position can be any unoccupied position on the designated auxilliary rails that can accommodate the RU size of the item from this point and above. ;# IP Address Port Name is used to assign the IP Address to a specific item data port. If omitted, the IP Address will be assigned to the item's first data port. ;# PX Username and PX Password are only used with Raritan Rack PDUs. ;# SNMP Write Community String can be replaced by the appropriate set of SNMPv3 related columns if required. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | RACK PDU-NON RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** | Depth Position ** | Cabinet Side ** | U Position | Rails Used ** | Orientation ** | Order (L-R) | IP Address | IP Address Port Name | SNMP Write Community String | PX User Name | PX Password | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **. ;# The item's name must be unique within its Location.;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet. ;# Depth Postion can be any unoccupied position on Front or Back auxilliary rails as viewed from cabinet rear. ;# Cabinet Side can be any unoccupied position on Left or Right auxilliary rails as viewed from cabinet rear. ;# U Position can be any unoccupied position on the designated auxilliary rails that can accommodate the RU size of the item from this point and above. ;# IP Address Port Name is used to assign the IP Address to a specific item data port. If omitted, the IP Address will be assigned to the item's first data port. ;# PX Username and PX Password are only used with Raritan Rack PDUs. ;# SNMP Write Community String can be replaced by the appropriate set of SNMPv3 related columns if required. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | RACK PDU-RACKABLE | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** | Depth Position ** | Cabinet Side ** | U Position | Rails Used ** | Orientation ** |  | IP Address | IP Address Port Name | SNMP Write Community String | PX User Name | PX Password | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **. ;# The item's name must be unique within its Location.;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet. ;# Depth Postion can be any unoccupied position on Front or Back auxilliary rails as viewed from cabinet rear. ;# Cabinet Side can be any unoccupied position on Left or Right auxilliary rails as viewed from cabinet rear. ;# U Position can be any unoccupied position on the designated auxilliary rails that can accommodate the RU size of the item from this point and above. ;# IP Address Port Name is used to assign the IP Address to a specific item data port. If omitted, the IP Address will be assigned to the item's first data port. ;# PX Username and PX Password are only used with Raritan Rack PDUs. ;# SNMP Write Community String can be replaced by the appropriate set of SNMPv3 related columns if required. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | RACK PDU-ZERO U | Name * | Make * | Model * | Location * | Location Reference | Cabinet ** |  |  | U Position | Depth Position ** | Cabinet Side ** |  | IP Address | IP Address Port Name | SNMP Write Community String | PX User Name | PX Password | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **. ;# The item's name must be unique within its Location.;# Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location and cabinet must be an existing dcTrack Location and Cabinet. ;# Depth Postion can be any unoccupied position on Front or Back auxilliary rails as viewed from cabinet rear. ;# Cabinet Side can be any unoccupied position on Left or Right auxilliary rails as viewed from cabinet rear. ;# U Position can be any unoccupied position on the designated auxilliary rails that can accommodate the RU size of the item from this point and above. ;# IP Address Port Name is used to assign the IP Address to a specific item data port. If omitted, the IP Address will be assigned to the item's first data port. ;# PX Username and PX Password are only used with Raritan Rack PDUs. ;# SNMP Write Community String can be replaced by the appropriate set of SNMPv3 related columns if required. ;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.
EDIT | UPS | Name * | Make * | Model * | Location * | Location Reference | Front Faces | [11 empty] | Status | Custom Field Label1 | Power IQ External Key | # Fields that are required to add an item are indicated by an asterisk *.;# Additional fields required in order to put the item into the'Installed' state are indicated by a double asterisk **.;# The item's name must be unique within its Location.; # Values provided for make, and model must match an entry from the dcTrack Make and Model lists.;# Values provided for location must be an existing dcTrack Location.;# Front Faces can be either North, South, East or West.;# Row Label can be a pre-existing label, or a new label can be entered and added to the list of existing row labels.;# Position in Row can be any position 1 - 99 that is unoccupied.;# Status can be set to Planned (by default if blank or omitted), Installed or Storage.